## Vapor Sorption Input
Penetrant Properties | Value | Uncertainty | Overall Properties | Value | Uncertainty | Parameters | Value | Uncertainty (Jackknife) | Units
Penetrant Name |  | ----- | Temperature (K) |  | 0.5 | Dual Mode (CH') | calculated | calculated | (CC/CC)
Antoine A (K -> Bar) |  | 0 | Pressure Transducer Err (e.g., 1% -> 0.01) | ----- | 0.0025 | Dual Mode (b) | calculated | calculated | 1 / MPa
Antoine B (K -> Bar) |  | 0 | Charge Chamber Vol. (cm3) | 29.4778 | 0.098002 | Dual Mode (kd) | calculated | calculated | (CC/CC) / MPa
Antoine C (K -> Bar) |  | 0 | Sampling Chamber Vol. (empty) (cm3) | 7.6307 | 0.023176 | GAB (Cp) | calculated | calculated | (CC/CC)
Pen. MW (g/mol) |  | 0 | Num steel beads | 0 | --- | GAB (k) | calculated | calculated | Unitless
Polymer Properties | Value | Uncertainty | Volume of steel bead (cm3) | 0.134 | 0 | GAB (a) | calculated | calculated | Unitless
Polymer Name |  | -----
Pol. dens (g/cm3) |  |  | Vapor Pressure (MPa) | calculated | calculated
Pol. mass (g)
Step | Initial System Pressure (Pa) | Final System Pressure (Pa) | Final Charge Pressure (after valve is closed, Pa) |  | Pressure (MPa) | Pres. err (MPa) | Concentration (CC(STP)/CC(Pol)) | Conc. err (CC(STP)/CC(Pol)) | Concentration (g/g(Pol)) | Conc. err (g/g(Pol)) | Activity | act. err | Mass frac. | Mass frac. err | Dual Mode Pred (CC/CC) | Dual Mode Pred Err (CC/CC) | GAB Pred (CC/CC) | GAB Pred Err (CC/CC)
1
2
3
4
5
6
7

## Transient Sorption Input
Overall Properties | Value | Uncertainty | Step 1 |  | Fick. Model | Fick. err | BH Model | BH err | MBH Model | MBH err |  |  | Step 2 |  | Fick. Model | Fick. err | BH Model | BH err | MBH Model | MBH err |  |  | Step 3 |  | Fick. Model | Fick. err | BH Model | BH err | MBH Model | MBH err |  |  | Step 4 |  | Fick. Model | Fick. err | BH Model | BH err | MBH Model | MBH err |  |  | Step 5 |  | Fick. Model | Fick. err | BH Model | BH err | MBH Model | MBH err |  |  | Step 6 |  | Fick. Model | Fick. err | BH Model | BH err | MBH Model | MBH err |  |  | Step 7 |  | Fick. Model | Fick. err | BH Model | BH err | MBH Model | MBH err |  |  | Step 8 |  | Fick. Model | Fick. err | BH Model | BH err | MBH Model | MBH err |  |  | Step 9 |  | Fick. Model | Fick. err | BH Model | BH err | MBH Model | MBH err |  |  | -> Copy the step template pattern and adjust the "# steps" value accordingly to add steps. ->
|  |  | M (fick) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | M (fick) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | M (fick) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | M (fick) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | M (fick) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | M (fick) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | M (fick) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | M (fick) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | M (fick) |  | TBD | TBD | TBD | TBD | TBD | TBD
semi-thickness (cm) |  |  | kf (1/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | kf (1/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | kf (1/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | kf (1/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | kf (1/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | kf (1/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | kf (1/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | kf (1/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | kf (1/s) |  | TBD | TBD | TBD | TBD | TBD | TBD
# steps | 9 | --- | M (relax) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | M (relax) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | M (relax) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | M (relax) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | M (relax) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | M (relax) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | M (relax) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | M (relax) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | M (relax) |  | --- | --- | TBD | TBD | TBD | TBD
| >Interpolation< Interpolate the input data to some size of points according to some interpolation function making the data easier to fit while losing little information in the process. It can also help the parameter optimization understand where the "valuable" information is. You almost always want 'root', as ideal fickian sorption is mostly linear with it. 'linear' is even interpolation (it will just reduce the data size) and 'log' will very heavily cut down long sorption steps (think on the order of months or years, not days). |  | kr (1/s) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | kr (1/s) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | kr (1/s) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | kr (1/s) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | kr (1/s) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | kr (1/s) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | kr (1/s) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | kr (1/s) |  | --- | --- | TBD | TBD | TBD | TBD |  |  | kr (1/s) |  | --- | --- | TBD | TBD | TBD | TBD
Interpolation method | root | >Options< "linear", "root", "log", "none" | beta |  | --- | --- | --- | --- | TBD | TBD |  |  | beta |  | --- | --- | --- | --- | TBD | TBD |  |  | beta |  | --- | --- | --- | --- | TBD | TBD |  |  | beta |  | --- | --- | --- | --- | TBD | TBD |  |  | beta |  | --- | --- | --- | --- | TBD | TBD |  |  | beta |  | --- | --- | --- | --- | TBD | TBD |  |  | beta |  | --- | --- | --- | --- | TBD | TBD |  |  | beta |  | --- | --- | --- | --- | TBD | TBD |  |  | beta |  | --- | --- | --- | --- | TBD | TBD
Interpolation size | 1000 | --- | D (cm^2/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | D (cm^2/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | D (cm^2/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | D (cm^2/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | D (cm^2/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | D (cm^2/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | D (cm^2/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | D (cm^2/s) |  | TBD | TBD | TBD | TBD | TBD | TBD |  |  | D (cm^2/s) |  | TBD | TBD | TBD | TBD | TBD | TBD
| Resampling This is the number of times the data is randomly resampled and fit. This is done to determine a histogram |  | Fit error | [9 empty] | Fit error | [9 empty] | Fit error | [9 empty] | Fit error | [9 empty] | Fit error | [9 empty] | Fit error | [9 empty] | Fit error | [9 empty] | Fit error | [9 empty] | Fit error
Resampling count | 50 | --- | t - t0 | Dim.less sorption or transient pressure (Pa) | [6 empty] | Resampled time | Resampled dim.less sorption | t - t0 | Dim.less sorption or transient pressure (Pa) | [6 empty] | Resampled time | Resampled dim.less sorption | t - t0 | Dim.less sorption or transient pressure (Pa) | [6 empty] | Resampled time | Resampled dim.less sorption | t - t0 | Dim.less sorption or transient pressure (Pa) | [6 empty] | Resampled time | Resampled dim.less sorption | t - t0 | Dim.less sorption or transient pressure (Pa) | [6 empty] | Resampled time | Resampled dim.less sorption | t - t0 | Dim.less sorption or transient pressure (Pa) | [6 empty] | Resampled time | Resampled dim.less sorption | t - t0 | Dim.less sorption or transient pressure (Pa) | [6 empty] | Resampled time | Resampled dim.less sorption | t - t0 | Dim.less sorption or transient pressure (Pa) | [6 empty] | Resampled time | Resampled dim.less sorption | t - t0 | Dim.less sorption or transient pressure (Pa) | [6 empty] | Resampled time | Resampled dim.less sorption
|  |  | Paste your (from sorption start) time data here! | [9 empty] | Paste your (from sorption start) time data here! | [9 empty] | Paste your (from sorption start) time data here! | [9 empty] | Paste your (from sorption start) time data here! | [9 empty] | Paste your (from sorption start) time data here! | [9 empty] | Paste your (from sorption start) time data here! | [9 empty] | Paste your (from sorption start) time data here! | [9 empty] | Paste your (from sorption start) time data here! | [9 empty] | Paste your (from sorption start) time data here!
transient pressure mode | FALSE |  |  | Paste your (dimensionless) sorption data here! | [9 empty] | Paste your (dimensionless) sorption data here! | [9 empty] | Paste your (dimensionless) sorption data here! | [9 empty] | Paste your (dimensionless) sorption data here! | [9 empty] | Paste your (dimensionless) sorption data here! | [9 empty] | Paste your (dimensionless) sorption data here! | [9 empty] | Paste your (dimensionless) sorption data here! | [9 empty] | Paste your (dimensionless) sorption data here! | [9 empty] | Paste your (dimensionless) sorption data here!